## Slide 1: How to Use the Noyes Fiber Optic Cable Inspection Scope Last Update 2008.08.13 1.0.0

## Slide 2: Objectives
Learn how to use the Noyes VS 300 fiber optic cable inspection scope

## Slide 3: What is an Inspection Scope
A fiber optic cable inspection scope is used to examine the end faces of fiber optic connectors
This is to ensure they are both clean and undamaged

## Slide 4: Noyes VS 300
This particular unit is designed so that the user never looks directly at the light source, as doing so can cause eye damage
The magnification is 400X
Here are the parts of this device

## Slide 5: Noyes VS 300

## Slide 6: Noyes VS 300

## Slide 7: To Inspect Connectors

## Slide 8: To Center the Display

## Slide 9: Common End Face Examples

## Slide 10: Review
The best review is to use the tool, so get to work