## Slide 1: Citrix Virtualization Last Update 2011.01.01 1.0.0

## Slide 2: Objectives of This Section
Learn
  About the Citrix approach to virtualization

## Slide 3: Citrix Virtualization
The Citrix approach to virtualization looks very much like the Xen approach
This makes sense as Citrix purchased XenSource in 2007
The current Xen solution is an open source offshoot of this

## Slide 4: Citrix Virtualization
The product line now consists of four versions
  XenServer
  XenServer Advanced Edition
  XenServer Enterprise Edition
  XenServer Platinum Edition
The basic version - XenServer - is now free and open source as well

## Slide 5: Citrix Installation
The installation is in two parts
First the XenServer is installed on one computer
Then the XenCenter manager is installed on a different computer
Let’s begin by installing XenServer

## Slide 6: XenServer Installation
Place the disc with XenServer on it in the drive
Boot the computer
Various Linux things will load
Then a text based GUI will appear
This is a standard Linux based installation
On it select the keymap language
Next tell it to install XenServer

## Slide 7: XenServer Installation
Agree to the license
Tell it where to store the virtual machines
Select any supplemental packs
Skip verification
It loads
Enter a password
Select a NIC

## Slide 8: XenServer Installation
Tell it how to get an IP address
Tell it how to get a hostname and DNS entries
Select the timezone country then the timezone city
Select the time source
Confirm the installation and proceed
The installation proceeds

## Slide 9: XenServer Installation
If a NTP source is not available, the time is requested
Installation resumes
The media is removed
The computer reboots
The main screen appears

## Slide 10: XenCenter Installation
It and the other screens accessible from this main screen all look like the open source Xen screens but in a different color
The next task is to install the management program on a computer that has network access to the server

## Slide 11: XenCenter Installation
This installation can be done from a disc with the msi file on it or from a browser by entering the IP address of the XenServer
In this case we will use the browser method
Enter the IP address of the XenServer
Go there
Select XenCenter installer

## Slide 12: XenCenter Installation

## Slide 13: XenCenter Installation
Select Run, then Run again
Click Next
Tell it where to install it
Click Next
Click Install

## Slide 14: XenCenter Installation
Click Finish
Open it to access the XenServer
The result is

## Slide 15: XenCenter Installation

## Slide 16: Add a Server
After both the server and the manager are installed a server must be created
Click the Add Server icon
In the box that appears enter the IP address of the server, the username, and the password

## Slide 17: Add a Server

## Slide 18: Add a Server
Tell it to save the login information

## Slide 19: Add a Server

## Slide 20: Add a Server
Now we have to add a server so a virtual machine can be created
Click on the Add Server icon
Now we have a server

## Slide 21: Add a Server

## Slide 22: Create a Virtual Machine
To create a virtual machine select New VM from the VM menu

## Slide 23: Create a Virtual Machine

## Slide 24: Create a Virtual Machine
Select the operating system template to use

## Slide 25: Create a Virtual Machine

## Slide 26: Create a Virtual Machine
Name the virtual machine

## Slide 27: Create a Virtual Machine

## Slide 28: Create a Virtual Machine
Tell it where to find the installation files for the new virtual machine’s operating system

## Slide 29: Create a Virtual Machine

## Slide 30: Create a Virtual Machine
Tell it the server to use to store the virtual machine

## Slide 31: Create a Virtual Machine

## Slide 32: Create a Virtual Machine
Adjust the number of CPUs and memory for the virtual machine if needed

## Slide 33: Create a Virtual Machine

## Slide 34: Create a Virtual Machine
Adjust the virtual machine’s storage if needed

## Slide 35: Create a Virtual Machine

## Slide 36: Create a Virtual Machine
Setup the network connection for the virtual machine

## Slide 37: Create a Virtual Machine

## Slide 38: Create a Virtual Machine
Verify the setup and click Finish

## Slide 39: Create a Virtual Machine

## Slide 40: Create a Virtual Machine
In the bottom left corner messages appear as the virtual machine is created

## Slide 41: Create a Virtual Machine

## Slide 42: Create a Virtual Machine
Now we have a new virtual machine

## Slide 43: Create a Virtual Machine

## Slide 44: Create a Virtual Machine
Select the virtual machine
Click on the Console tab to see the virtual machine operating system installation occurring

## Slide 45: Create a Virtual Machine

## Slide 46: Create a Virtual Machine
And now we have a virtual machine with an operating system installed

## Slide 47: Create a Virtual Machine

## Slide 48: Create a Virtual Machine
The last step is to install the XenServer Tools
Select the VM menu item, then Install XenServer Tools

## Slide 49: Create a Virtual Machine

## Slide 50: Create a Virtual Machine
Agree to the installation
Agree to the license
Select the installation location

## Slide 51: Create a Virtual Machine

## Slide 52: Create a Virtual Machine
After the installation, click Finish to reboot the virtual machine operating system

## Slide 53: Create a Virtual Machine

## Slide 54: Create a Virtual Machine
And we are done

## Slide 55: Create a Virtual Machine

## Slide 56: Citrix Virtualization
As you can see the process is quite simple