## Slide 1: KVM Last Update 2013.03.05
1.0.0

## Slide 2: Objectives of This Section
Learn what a KVM is

## Slide 3: KVM
To reduce the amount of equipment that has to be put in the rack or on the table a KVM – Keyboard, Video, Monitor – switch can be used
With such a thing a single keyboard, a single monitor, and a single mouse can be used to control from two to hundreds of computers

## Slide 4: KVM
There are two types of these
  Analog
  Digital
Analog uses local dedicated cables to connect everything together
Digital systems use UTP cables to connect over long distances
Here is the concept as shown by Dell

## Slide 5: Analog

## Slide 6: Digital

## Slide 7: Analog
Analog devices look like this as shown by IOGear

## Slide 8: Two Port KVM

## Slide 9: Eight Port KVM

## Slide 10: Eight Port KVM

## Slide 11: 16 Port KVM

## Slide 12: 16 Port KVM

## Slide 13: KVM Cables
These two to 16 port KVMs require propriety cables for each device to be controlled by it
This adds to the cost
Here is what the cables look like

## Slide 14: KVM Cables

## Slide 15: KVM Connection
Here is a diagram from IOGear that shows how these are connected

## Slide 16: KVM Connection

## Slide 17: KVMP
A KVMP – Keyboard Video Monitor Mouse Peripheral adds the ability to access external USB devices
These USB devices can be accessed and shared across the computer systems connected to the KVMP
A USB hub can be connected so that for multiple devices can be sharing

## Slide 18: iKVM
Digital or iKVM devices make more sense than analog when the number of devices to be remotely managed exceeds more than 20 or 30 or if they are at a long distance in the datacenter or in another location entirely
The i stands for over IP
The local management console looks like this as shown by APC

## Slide 19: iKVM

## Slide 20: iKVM
This connects to the remote server over a UTP cable connected to the normal data network
For example as shown in the APC manual

## Slide 21: iKVM

## Slide 22: iKVM

## Slide 23: Device Module
Each device to be controlled requires a device module to handle the KVM traffic

## Slide 24: Device Module

## Slide 25: iKVM Display
The device to be controlled appears on the management consoles screen such as seen here

## Slide 26: iKVM Display

## Slide 27: iKVM Problems
As might be expected the latency in a long distance connection such as this causes only near real time display of the remote device

## Slide 28: Headless Server
A server can also be managed remotely without a keyboard, monitor, or mouse being attached to it at all
This is done using SSH or some other remote management program
This is called a headless server